## Slide 1
Data browser
Manual User
Katy Saintin
Last update April 2017

## Slide 2
Application description -------- 3
  Data source tree ----------------- 4
  Data items viewer ----------------5
  Display manager ---------------- 6
  Item information ----------------- 7
Open a data source ----------- 8
  Open a Nexus file---------------- 8
  Open a Tango source ---------- 8
  Open a Mambo VC file--------- 8
Close a data source ----------- 10
Reload a data source --------- 10
Data item visualization ------- 11
  Scalar view ---------------------- 11
  Spectrum view ------------------ 12
  Image view ----------------------- 16
  Stack navigation ---------------- 19
Display manager ------------------ 20
  Change the axis setting ----------- 21
  Image as N spectrum -------------- 23
  Remove a data item visualization 21
Data browser configuration file -23
  Save a configuration file
  Load a configuration file
Data browser argument --------- 24
  Open a data source at launch
Default configuration setting -- 26
Searching tool ---------------------27
Help documentation--------------28

## Slide 3: Application description

## Slide 4: 1 - Data source tree
The tree will display all the existing and available data sources. Example : Tango is visible if a TANGO database is reachable.
If only one source is available, the data source tree will display no source node.
A Open, Close button are used to open or close a data source.
2 data sources available : Nexus, Tango
Open button will be enable
If at least one of the Node is selected
1 data source available : NetCDF
Open button is always enable

## Slide 5: 2 - Data items viewer
The viewer will display all the data item node selected in the data source tree. According to shape and the type of the data, the data item will be displayed in :
A Scalar viewer, for a single scalar value.
A Spectrum viewer, for an array of value.
A Image viewer, for a 2 dimensional value.
Then if we have a stack of data a player component will be displayed in order to navigate inside.
Scalar viewer
Spectrum viewer
Image viewer

## Slide 6: 3 – Display manager
The display manager configure the axis setting of a Spectrum or Image data item.
It is also possible to remove a data item visualization from this viewer.

## Slide 7: 4 – Item information
It display all the information corresponding to a selected data item.
  Format : NUMERICAL, TEXT or BOOLEAN
  Type : SCALAR, SPECTRUM or IMAGE
  Shape : The dimension of the data
  And other meta data : Units, Label, numerical format …
For Nexus or NetCDF plugin you can select the type of data.

## Slide 8: Open a data source
1/ With Open button
If several sources are available, first select a source node in order to enable Open button.
Click on Open button, according to the selected source, an adapted searching dialog will be displayed to selected the source.
Open a Nexus or HDF file
Open a Mambo VC file
Open a Tango source

## Slide 9: Open a data source
2/ By drag and drop
Select a file or a text (can now be done from Jive)
Drop the selection in the Tree (anywhere, you don’t need to select the node, it will be detected automatically).

## Slide 10: Close, Reload a data source
Select a source to close.
Right click and Close the source
Or click on Close button
To reload a data source, right click and Reload menu

## Slide 11: Data item visualization
For a scalar data item (rank=0)
Click on a scalar data item in an open source in the tree.
Or click in the display manager the scalar data item to visualize
The selected data item will be highlighted in the scalar tabbed

## Slide 12: Data item visualization
For a spectrum data item (rank=1)
Click on a spectrum data item in an open source in the tree.
Or click in the display manager the spectrum data item to visualize
The selected data item will be highlighted in the chart viewer.

## Slide 13: Data item visualization
For a spectrum data item (rank=1)
Set a spectrum as X for all the display spectrum or image.
In the Source Tree select “Show On X” or “Display on X Scale” Menu
Set a spectrum as X for a specific spectrum or image
In the Source Tree select “Display on X for spectrum …”
A Dialog will open, select the Item(s)

## Slide 14: Data item visualization
Samples of chart functionalities
Comparison between 2 spectrums - menu “Evaluate an expression”
Save a snapshot - menu “Save a snapshot of this chart”
Save a data file - menu “Save data File”
Load a saved data file – menu “Load data”

## Slide 15: Data item visualization
Right click on item Spectrum and Image
Right click opens a menu that lets you choose which axes to display the curve .
It is possible to see a spectrum as a picture.

## Slide 16: Data item visualization
Show in new Chart one or several data views
Right click on the Chart and select “Show In new Chart” menu
Select data views to display.
Enter a or select a title and select an icon of the new Chart.
You can see the data views previously selected.

## Slide 17: Data item visualization
For a image data item (rank=2)
Click on a image data item in an open source in the tree.
Or click in the display manager the image data item to visualize
The selected data item will be displayed to the front.

## Slide 18: Data item visualization
Samples of image functionalities
Save a snapshot - menu “Save image”
Save a data file - menu “Save data File”
Select a X and a Y Scale – Use the combo box X and Y

## Slide 19: Data item visualization
For a stack navigation rank > data type rank
Click on a stack data item in an open source in the tree.
Or click in the display manager the stack data item to visualize
The selected data item will be displayed to the front or highlighted.
There will be stack component as necessary according to the dimension

## Slide 20: Data item visualization
Samples of stack functionalities
Play, Pause, Stop, Next, Previous, Go First, and Go Last
Loop
Frame rate
Video file generation (avi, animated gif, mov)
Go to the first step
Go to the previous step
Go to the next step
Go to the last step
Frame rate
Play / Pause
Stop
Video file
generation
Loop

## Slide 21: Display manager
Axis configuration (Change the axis of a data item)
Displayed information (Click on button in top right corner )
Remove data item (Select lines and right click to remove)

## Slide 22: Display manager
Samples of axis configuration
Set a spectrum or an image on X axis in the Chart

## Slide 23: Display manager
Samples of axis configuration
See an image or stack image as N spectrum (n lines or n columns)

## Slide 24: Configuration file
Open all the wanted data item to visualize
Configure the axis selection thanks to the display manager
Configure the data view line properties (Thickness, color, marker…)
Configure the image properties (axes scale, ROI, zoom, color map…)
Save this configuration from the menu File-> Save configuration.
Load this configuration from the menu File-> Load configuration.

## Slide 25: arguments
Display command line help
databrowser -? Or -help
Open a Nexus source at launch
databrowser /path/file.nxs
Open a Tango source at launch
databrowser tango/device/name
databrowser /path/atktunning_attributes.tx
Open a HDB/TDB source at launch
databrowser /path/hdb.vc
databrowser /path/tdb.vc
Load a configuration file at launch
databrowser -v /path/myconfiguration.xml

## Slide 26: Default configuration setting
At each data browser closed action, the following information are saved :
The view disposition (docking)
The size and the windows position on the screen.
The general chart properties :
  Title
  The chart background
  The axis scale, and name
  The auto highlighting option
The general image properties (not available yet)
  The added ROI
  Monochrome option
The path of different files
  The path of saved data files from the Chart and the Image viewer.
  The path of the snapshot of the Chart and the Image viewer.
  The path of the movies from the Player component.
  The path of the open data source from Open button
The preference file is defined on a system property :
  -DDATABROWSER_CONFIGFILE=/path/uiconfig.xml
The refreshing of CDMA plugin data is configured in a system property:
  -DDB_REFRESHING_ENABLE=true

## Slide 27: Searching tool
Type a text to find in the search text field
Click on previous or next button to find a item that contains the typed text.

## Slide 28: Help documentation
This documentation is available clicking on Help menu
A plugin detail information is available on this same menu.