## Slide 1
Salsa
Manual User
Katy Saintin
Last update December 2013

## Slide 2: Index
Software architecture
COMETE graphical library
Software packages
Salsa lexicon
Salsa description

## Slide 3: Functionalities index
Environment variables
Preferences settings
  Scan server device settings
  Data fitter device settings
  Historic log settings
  Data recording settings
  Enable confirmation settings
  Scan server device properties settings
  Nexus file browser integration
Salsa mode
  Configuration mode
  Configuration manager (New !)
  Scan result
  Salsa read only

## Slide 4: Functionalities index
Create a new configuration
General parameters
  Number of scan
  Actuators delay
  Zig zag trajectory
  Scan on the fly
  Scan speed adjustement
  After run function and scan function
Scan parameters
  Sensors
  Time bases
  Actuators
  Trajectories
  Hooks
  Error strategies
Scan execution
  Start
  Abort
  Pause
  Resume

## Slide 5: Functionalities index
Scan result
  Current scan historic
  1D result
  2D result
  Display manager
  Error strategies
  Scans historic
Others
  Perspectives
  Data fitter
  Data recorder
  Bookmarks
  Search tool
  Record data service

## Slide 6: Software architecture
ds_ScanServer
actuators, sensors, trajectory
data_01,data_02…
Hooks, ScanFunctions
Start,Abort,Pause,Resume
ds_DataRecorder
NeXus files
ds_DataFitter
fittedDataArray
Python
SalsaAPI
ds_SimpleScan
Passerelle acteur V3
startRecording
Fit data_01
SalsaDB
Configurations
Start Configuration

## Slide 7: COMETE graphical library
TANGO
NEXUS
Archivage
Librairie ATK
Librairie graphique COMETE

## Slide 8: Software architecture
ds_ScanServer
actuators, sensors, trajectory
data_01,data_02…
Hooks, ScanFunctions
Start,Abort,Pause,Resume
ds_DataRecorder
Fichiers NeXus
ds_DataFitter
fittedDataArray
COMETE Graphical library
DataRecorderBean
CurrentScanResultBean
DataFitterBean

## Slide 9: Software architecture
SalsaAPI
SalsaDB
Configurations

## Slide 10: Software packages
DEVICE_ROOT
ds_ScanServer
ds_DataRecorder
ds_DataFitter
LIVE_ROOT
SALSA
PASSERELLE_ROOT
Passerelle
Bossanova
SalsaAPI
Comete
SalsaAPI (Duplication)
DataRecorderBean
DataFitterBean
ScanResultBean

## Slide 11: Salsa lexicon
TANGO : The control system of SOLEIL
Device : A TANGO programme for remoting a equipement or processing.
Attribute : An equipment or a process parameter (eg : position or integration time).
Command : A equipement or a process action (eg : Move or Count)
Scan server device : TheTango device server for processing scan.
Nexus : Format of files of SOLEIL.
Sensor : listened Tango parameter
Actuator : moved Tango parameter
Hook : A simple Tango command (no argument as Start, Close…)
Perspective : A custom view disposition.

## Slide 12: Environment variables
Salsa needs for several environment variables to be set.
TANGO_HOST
Host of the tango database (localhost:20001)
SALSA_SERVER_URL
Url of the salsa database (jdbc:mysql://localhost/salsa)
  SALSA_LOGIN
  The login of the user connected on Salsa database
  SALSA_PERSPECTIVES_DIRECTORY
  The folder for the perspectives files
  SALSA_DEVICE_PREFERENCES
  The file for the device configurations
  SALSA_UI_PREFERENCES
  The file for the user interface configurations

## Slide 13: Salsa Preferences settings
  Log file setting
  Scan server device setting
  Data Fitter device setting
  Nexus file browser application

## Slide 14: Salsa Mode
Configuration mode : (“salsa” command)
In this mode you can create, modify and remove a scan configuration.
All the configuration edition views are available in the Menu
Window > Show View > Configuration Views

## Slide 15: Salsa Mode
Configuration manager (New !)
The management of several configurations is possible now.
You can Add, Remove, Enable/Disable a TimeBase, Sensor or Actuator on several configurations.
Select several configuration in the Scan Manager Tree.
The devices appear in red color, are the uncommon devices.

## Slide 16: Salsa Mode
Salsa read only: (“salsa_ro” command)
In this mode you can only select a Scan configuration from the bookmark, modify the scan configuration (delete or add devices, or hook is not possible).
And you can play the configuration.

## Slide 17: Salsa Mode
Salsa result : (“salsa_result” command)
In this mode you can only visualize the current scan result.
All the views for the visualization are available in the Menu :
Window > Show View > Result Views

## Slide 18: Create a new configuration
New scan configuration. It exist several kind of scan
1D = dimension X
2D = dimension X et dimension Y
HCS = 1D continu hardware with a time base
K = 1D specific trajectory in 3 phases
E = 1D trajectory visualed differently in a table
Click on the New button
Or right click on the tree to make appears the configuration management menu.

## Slide 19: General parameters
  LIGNE/EX/SCAN.1/scanNumber
  LIGNE/EX/SCAN.1/ actuatorsDelay
  LIGNE/EX/SCAN.1/ zigzag
  LIGNE/EX/SCAN.1/ onTheFly
  LIGNE/EX/SCAN.1/ enableScanSpeed
  LIGNE/EX/SCAN.1/ afterRunActionType
scanserver attributes

## Slide 20: Scan parameters
  LIGNE/EX/SCAN.1/sensors
  LIGNE/EX/SCAN.1/timebases
  LIGNE/EX/SCAN.1/actuators
  LIGNE/EX/SCAN.1/trajectories
  Predefined values defined in the device properties :
    ActuatorsFile,
    SensorsFile,
    TimebasesFile
scanserver attributes

## Slide 21: Hooks configuration
  LIGNE/EX/SCAN.1/postActuatorMoveHooks
  LIGNE/EX/SCAN.1/postIntegrationHooks
  LIGNE/EX/SCAN.1/postRunHooks
  LIGNE/EX/SCAN.1/postScanHooks
  LIGNE/EX/SCAN.1/postStepHooks
  …
scanserver attributes

## Slide 22: Error strategy
  LIGNE/EX/SCAN.1/sensorsErrorStrategy
  LIGNE/EX/SCAN.1/sensorsRetryCount
  LIGNE/EX/SCAN.1/contextValidation
scanserver attributes

## Slide 23: Scan actions
Executed by the user on demand (except in Abort case) !
  LIGNE/EX/SCAN.1/afterRunActionType
  LIGNE/EX/SCAN.1/afterRunActionSensor
  LIGNE/EX/SCAN.1/afterRunActionActuator
  LIGNE/EX/SCAN.1/afterRunActionActuatorValue
  Commande LIGNE/EX/SCAN.1/ExecuteAction
scanserver attributes

## Slide 24: Scan historic
Current scan historic (can be very useful for debugging !)
  LIGNE/EX/SCAN.1/historic scanserver attribute

## Slide 25: Scan 1D result visualization
  LIGNE/EX/SCAN.1/data_XX scanserver attribute
  Send the actuator to the selected point.
Click on a point

## Slide 26: Scan 2D result visualization
  LIGNE/EX/SCAN.1/data_XX scanserver attribute
  Send the actuator to the selected point.

## Slide 27: Scan 2D in N spectrums
Display a 2D Image in N Spectrum in Chart
  LIGNE/EX/SCAN.1/data_XX scanserver attribute

## Slide 28: Salsa historic log
Scans executed actions via SalsaAPI historic (historic file)
  ds_simpleScan, passerelle and Salsa.
  Replay (exactly) a scan via Play button
  Click on the nexus file name to open it a nexus file browser application

## Slide 29: Salsa functionalities
Perspectives

## Slide 30: Data Fitter bean
DataFitter integration in the scan chart result
  LIGNE/EX/FIT.1/fittedDataY
  LIGNE/EX/FIT.1/deviceAttributeNameX
  LIGNE/EX/FIT.1/deviceAttributeNameY
Scanserver attributes

## Slide 31: Display a Stack of spectrum
Display a stack of spectrum in a player
Video files generation
LIGNE/EX/SCAN.1/data_XX scanserver attribute

## Slide 32: Display a Stack of image
Display several images as a image player
Video files generation
  LIGNE/EX/SCAN.1/data_XX scanserver attribute

## Slide 33: Bookmars
  Bookmarks creation

## Slide 34: Salsa Searching tool

## Slide 35: Data recorder activation
Disable of data recording
  ICA/SALSA/SCAN.1/recordData scanserver attribute
  Device not present

## Slide 36: Custom Trajectory
Trajectory Y
Trajectory X
Trajectory Editor
Trajectory Menu

## Slide 37: Salsa open Nexus files
Open a nexus file in the databrowser
  Click on a nexus file name to open it in the databrowser.